## Aurora Heights
Action | School or Building | Date | Results/Actions/Notes of Service | Follow-up | When | Completed | Updated RMP
Radon Management Plan (RMP) |  |  |  | Recommended or Required | Recommended | Date | Yes/No
Initial Radon Survey | Aurora Heights | 2013-03-28 | 0 > 4.0 pci/L, 1 rooms > 2.0 pCi/L | 5 years retest | 2018 | 2016 | Yes
Retest Radon Survey | Aurora Heights | 2016-12-15 | 0 > 4.0 pci/L, 3 rooms > 2.0 pCi/L | 5 years retest | 2021 | 2020 | Yes
| Aurora Heights | 2020-01-20 | 0>4.0 pCi/L, 2 rooms > 2.0 pCi/L | 5 year retest | 2025
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
HVAC Modifications & Upgrades | Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Major Renovations or Additions | Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights
Aurora Heights

## Emerson Hough
Action | School or Building | Date | Results/Actions/Notes of Service | Follow-up | When | Completed | Updated RMP
Radon Management Plan (RMP) |  |  |  | Recommended or Required | Recommended | Date | Yes/No
Testing with Continuous Monitors | Emerson Hough Elem | Oct Nov 2012 | 0>4.0 pCi/L Rooms 135, 137, 140, 141, 142, 143, 144,
Ten Rooms in Newer Section | Emerson Hough Elem | Oct Nov 2012 | 145, Multi Purpose and Media Center | None
Emerson Hough Elem
Initial Radon Survey Entire Bldg | Emerson Hough Elem | 2013-04-22 | 0>4.0 pCi/L, 1 Room >2.0 pCi/L | None
Retest Radon Survey Entire Bldg | Emerson Hough Elem | 2016-12-15 | 0>4.0 pCi/L, 20 Rooms > 2.0 pCi/L (Consider Fixing) | Retest 5 years | 2021 | 2020 | Yes
| Emerson Hough Elem | 2020-01-30 | 0 > 4.0 pCi/L, 18 Rooms > 2.0 pCi/L | Retest 5 years | 2025
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
HVAC Modifications & Upgrades | Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Major Renovations or Additions | Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem
Emerson Hough Elem

## ALL Schools Data
Intstructions for this sheet: To add additional years, Highlight Column "B" and Insert New Column
Attendance Center/Facility | Year Tested for Radon | Year Tested for Radon | Year Tested for Radon | Year Tested for Radon | Year Tested for Radon
| 2023 | 2020 | 2017 | 2016 | 2013 | 2012
Aurora Heights Elementary |  | 2020-01-20 |  | 2016-12-15 | 2013-03-28
|  | Tested entire building |  | Tested entire building | Tested entire building
|  | 0>4.0 pCi/L, 2 rooms > 2.0 pCi/L |  | 0 > 4.0 pci/L, 3 rooms > 2.0 pCi/L | 0 > 4.0 pci/L, 1 rooms > 2.0 pCi/L
|  | Monitor HVAC since some > 2.0 pCi/L |  | Monitor HVAC since some > 2.0 pCi/L | Monitor HVAC
Emerson Hough Elementary |  | 2020-01-30 |  | 2016-12-15 | 2013-04-22 | Oct Nov 2012
|  | Tested Entire Building |  | Tested Entire Building | Tested Entire Building | 0>4.0 pCi/L Rooms 135, 137, 140, 141, 142, 143, 144,
|  | 0 > 4.0 pCi/L, 18 Rooms > 2.0 pCi/L |  | 0>4.0 pCi/L, 20 Rooms > 2.0 pCi/L | 0>4.0 pCi/L, 1 Room >2.0 pCi/L
|  | Consider Fixing Rooms > 2.0 pCi/L |  | Consider Fixing Rooms > 2.0 pCi/L | No action recommended | Oct Nov 2012
145, Multi Purpose and Media
Thomas Jefferson Elementary |  | 2020-02-13 | 2017-01-12 |  | 2013-03-25
|  | Tested entire building | Tested entire building |  | Tested entire building
|  | 0 > 4.0 pCi/L, 1 > 2.0 pCi/L | 0 > 4.0 pci/L, 0 rooms > 2.0 pCi/L |  | 0 > 4.0 pci/L, 0 rooms > 2.0 pCi/L
|  | No action recommended | No action recommended |  | No action recommended
Woodrow Wilson Elementary |  | 2020-02-13 | 2017-01-12 |  | 2013-03-28
|  | Tested entire building | Tested entire building |  | Tested entire building
|  | Room 114 was 5.1, CRM tested & Avg. 2.9 | 6 > 4.0 pCi/L, 19 other rooms > 2.0 pCi/L |  | 0 > 4.0 pci/L, 6 rooms > 2.0 pCi/L
|  | 6 Rooms > 2.0 pCi/L | Mitigation Recommended |  | Consider Fixing Rooms > 2.0 pCi/L
|  | CONTINUE to MONITOR HVAC | HVAC Upgraded or Replaced
|  | Consider Fixing rooms > 2.0 pCi/L | 3/6/17-4/3/17
|  | Retest as Post-Mitigation every 2 years | Rms 113, 114, 115, 116, 117, 118 all < 4.0 pC
|  | Test entire school FALL 2023 | when tested with CRM's
Berg Middle School | 2023-03-23 | 2020-01-23 | 2017-01-20 | 2014-04-06 | 2013-03-25 | 2012-12-24
| Most rooms were > 2.0 pCi/L and 31 rooms > 4.0 pCi/L | Tested entire NEW BUILDING | Retested entire building | Follow-up with CRM | Tested entire building w/kits | Tested all rooms w/CRM's
| HVAC had been accidently turned off previous week so there was ZERO fresh air in the building when we tested. | 5 Rooms > 4.0 pCi/L, 7 > 2.0 pCi/L | Rooms 250, 141, 142, Weight Rm > 4.0 pCi/L | Room 250 average was 0.2 pCi/L | Rooms 250, 251 and 252 > 4.0 pCi/L | All rooms < 4.0 pCi/L
| 4 second level rooms were tested (10%) and 1 of those had radon of 3.5 pCi/L during the March test | Diagnostic testing w/CRM's | 2017-02-09 |  | 2013-04-03
| HVAC corrected immediately | 2020-01-30 | Diagnostic testing w/CRM |  | Rooms 250, 251 and 252 < 4.0 pCi/L
| 2023-04-13 | Band and Choir Offices and Practice Rooms | Room 250 at 3.2 pCi/L (Rm 251 at 3.0 pCi/L)
| Second test of all rooms and offices with HVAC in proper working order | tested using CRM's, A105A still high during school, but is used as storage mostly | 2017-03-30
| ZERO rooms >4.0 pCi/L, 44 rooms < 0.3 (lowest detectable w/kits), | A104A and A104F still high during school, but are not occupied significantly. Check is A104A is office? How much occupied? | Diagnostic testing w/CRM
| TWO rooms > 2.0 pCi/L SRO and A104B | HVAC for that area adjusted | Room 141 at 1.7 pCi/L; 142 at 3.7 pCi/L
| RETEST coldest months Jan/Feb 2025 | Restest in 2 years as Post-Mitigation Building | New Building planned completion 2019
Newton High School |  | 2020-02-20 | 2017-02-09 |  | 2013-04-22
|  | Tested entire building | Tested entire building |  | Tested entire building
|  | 4 Rooms > 2 pCi/L; 2 Rooms > 4.0 pCi/L | 0 Rooms > 4 pCi/L; 9 Rooms > 2.0 pCi/L |  | Custodian Control Room and LL practice
|  | One high room was a Maintence Control Room, which is only used as storage NOW. This is considered a | No action recommended |  | rooms currently used as storage > 4.0 pCi/L
|  | radon entry point and should not be occupied other than for brief times. |  |  | Recommended they not significantly occupy
|  | The other high room was Lower Gym and the other Gym test kit was normal. |  |  | those rooms.
High activity areas can be a reason a kit has a high result NOT that it increases the radon, just that it causes extra dust which affects the accuracy of the radon test kit. No CRM due to high activity area.
No action recommended
No action recommended
West Academy & District Offices |  | 2020-03-20 | 2017-03-02
|  | Tested entire building | Tested entire building
|  | Zero Rooms > 4.0 pCi/L, 0 Rooms > 2.0 pCi/L | 0 Rooms > 4.0 pCi/L, 0 Rooms > 2.0 pCi/L
|  | No action recommended | No action recommended
Technology, Transportation and Maintenance Buildings |  | 2020-03-20 | 2017-03-02
|  | 0 Rooms > 4.0 pCi/L, 3 rooms > 2.0 pCi/L, | Technology Office all rooms > 2.0 pCi/L
Considering Fixing Rooms > 2.0 pCi/L
Transportation Building 3 rooms
3 rooms all < 1.0 pCi/L
Maintenance Offices 2 rooms
2 rooms tested, both < 1.0 pCi/L
|  | No action recommended | No action recommended

## Thomas Jefferson
Action | School or Building | Date | Results/Actions/Notes of Service | Follow-up | When | Completed | Updated RMP
Radon Management Plan (RMP) |  |  |  | Recommended or Required | Recommended
Initial Radon Survey | Thomas Jefferson Elem | 2013-03-25 | 0 > 4.0 pci/L, 0 rooms > 2.0 pCi/L | None
Retest Radon Survey | Thomas Jefferson Elem | 2017-01-12 | 0 > 4.0 pci/L, 0 rooms > 2.0 pCi/L | Retest 5 years | 2022 | 2020 | Yes
| Thomas Jefferson Elem | 2020-02-13 | 0 > 4.0 pCi/L, 1 > 2.0 pCi/L | Retest 5 years | 2025
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
HVAC Modifications & Upgrades | Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Major Renovations or Additions | Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem
Thomas Jefferson Elem

## Woodrow Wilson
Action | School or Building | Date | Results/Actions/Notes of Service | Follow-up | When | Completed | Updated RMP
Radon Management Plan (RMP) |  |  |  | Recommended or Required | Recommended
Initial Radon Survey | Woodrow Wilson | 2013-03-28 | 0 > 4.0 pci/L, 6 rooms > 2.0 pCi/L | None
Retest Radon Survey | Woodrow Wilson | 2017-01-12 | 6 > 4.0 pCi/L, 19 other rooms > 2.0 pCi/L | Mitigation |  | Jan 2017 HVAC | Yes
Diagnostic CRM Testing 6 Rooms | Woodrow Wilson | 3/6/17-4/3/17 | Rms 113, 114, 115, 116, 117, 118 all < 4.0 pC | Retest Area 2 yrs | 2019 | 2020 | Yes
| Woodrow Wilson |  | when tested with CRM's |  | MONITOR HVAC
| Woodrow Wilson | 2020-02-13 | Room 114 was 5.1, CRM tested & Avg. 2.9 | Retest Area 2 yrs | 2022
| Woodrow Wilson |  | 6 Rooms > 2.0 pCi/L CONTINUE to MONITOR HVAC
| Woodrow Wilson |  | Retest as post-mitigation every 2 yrs
| Woodrow Wilson |  | Consider Fixing rooms > 2.0 pCi/L | TEST Area or School | Fall 2023
Woodrow Wilson
HVAC Modifications & Upgrades | Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Major Renovations or Additions | Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
Woodrow Wilson
| Woodrow Wilson |  |  |  | MONITOR HVAC

## Berg Middle
Action | School or Building | Date | Results/Actions/Notes of Service | Follow-up | When | Completed | Updated RMP
Radon Management Plan (RMP) |  |  |  | Recommended or Required | Recommended
Continuous Monitor Testing | Berg Middle School | 2012-12-24 | All rooms < 4.0 pCi/L | Test all Rooms at one time |  | 2013
Initial Radon Survey Entire Bldg | Berg Middle School | 2013-03-25 | Rooms 250, 251 and 252 > 4.0 pCi/L | HVAC adjustment
Diagnostic Testing with CRM's | Berg Middle School | 2013-04-03 | Rooms 250, 251 and 252 < 4.0 pCi/L | Retest 2 years | 2016 | 2017 | Yes
Follow-up CRM Room 250 | Berg Middle School | 2014-04-06 | Room 250 average was 0.2 pCi/L | Retest 2 years | 2016 | 2017 | Yes
Retest Radon Survey Entire Bldg | Berg Middle School | 2017-01-20 | Rooms 250, 141, 142, Weight Rm > 4.0 pCi/L | HVAC adjustment |  |  | Yes
Diagnostic Testing with CRM's | Berg Middle School | 2017-02-09 | Room 250 at 3.2 pCi/L (Rm 251 at 3.0 pCi/L) | Retest 2 years | MONITOR HVAC TWO AREAS |  | Yes
| Berg Middle School | 2017-03-30 | Room 141 at 1.7 pCi/L; 142 at 3.7 pCi/L | Retest 2 years | MONITOR HVAC TWO AREAS |  | Yes
NEW SCHOOL 2019 | Berg Middle School | 2020-01-23 | 5 Rooms > 4.0 pCi/L, 7 > 2.0 pCi/L | CRM diagnostic
| Berg Middle School | 2020-01-30 | Band and Choir Offices and Practice Rooms | CRM diagnostic
HVAC Modifications & Upgrades | Berg Middle School |  | tested using CRM's, A105A still high during school, but is used as storage mostly
| Berg Middle School |  | A104A and A104F still high during school, but are not occupied significantly. Check is A104A is office.
| Berg Middle School |  |  | ADJUST HVAC and retest with CRM's
| Berg Middle School |  |  | Retest 2 years | 2022 | 2023
| Berg Middle School | 2023-03-23 | HVAC had been accidently turned off previous week so there was ZERO fresh air in the building when we tested.
| Berg Middle School |  | Most rooms were > 2.0 pCi/L and 31 rooms > 4.0 pCi/L
| Berg Middle School |  | 4 second level rooms were tested (10%) and 1 of those had radon of 3.5 pCi/L during the March test
| Berg Middle School | 2023-04-13 | Second test of all rooms and offices with HVAC in proper working order
| Berg Middle School |  | ZERO rooms >4.0 pCi/L, 44 rooms < 0.3 (lowest detectable w/kits),
| Berg Middle School |  | TWO rooms > 2.0 pCi/L SRO and A104B | Retest 2 years, preferably during coldest months Jan or Feb
| Berg Middle School |  |  |  | Jan/Feb 2025
Berg Middle School
Berg Middle School
Berg Middle School
Berg Middle School
Berg Middle School
Berg Middle School
Berg Middle School
Berg Middle School
Berg Middle School
Berg Middle School
Berg Middle School
Major Renovations or Additions | Berg Middle School
Berg Middle School
Berg Middle School
Berg Middle School
Berg Middle School
Berg Middle School
| Berg Middle School |  |  |  | MONITOR HVAC TWO AREAS

## Newton High
Action | School or Building | Date | Results/Actions/Notes of Service | Follow-up | When | Completed | Updated RMP
Radon Management Plan (RMP) |  |  |  | Recommended or Required | Recommended
Initial Radon Survey | Newton High School | 2013-04-22 | Custodian Control Room and LL practice | Do not use rooms
| Newton High School |  | rooms currently used as storage > 4.0 pCi/L | without HVAC on |  | Ongoing
Retest Radon Survey | Newton High School | 2017-02-09 | 0 Rooms > 4 pCi/L; 9 Rooms > 2.0 pCi/L | None-Retest 5 yrs | 2022
| Newton High School | 2020-02-20 | 4 Rooms > 2 pCi/L; 2 Rooms > 4.0 pCi/L
| Newton High School |  | One high rooms was a Maintence Control Room, which is only used as storage NOW. This is considered a
| Newton High School |  | radon entry point and should not be occupied other than for brief times.
| Newton High School |  | The other high room was Lower Gym and the other Gym test kit was normal.
| Newton High School |  | High activity areas can be a reason a kit has a high result NOT that it increases the radon, just that
| Newton High School |  | it causes extra dust which affects the accuracy of the test. We did NOT retest with CRM because
HVAC Modifications & Upgrades | Newton High School |  | there is not a good way to use a CRM in an active area like a gymnasium.
| Newton High School |  | On the 3-year schedule, retest in 2023 | None-Retest 5 yrs | 2023 or 2025
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Major Renovations or Additions | Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School
Newton High School

## West Academy & District Off
Action | School or Building | Date | Results/Actions/Notes of Service | Follow-up | When | Completed | Updated RMP
Radon Management Plan (RMP) |  |  |  | Recommended or Required | Recommended
Initial Radon Survey | West Acad & District | 2017-03-02 | 0 Rooms > 4.0 pCi/L, 0 Rooms > 2.0 pCi/L | None, Retest 5 yrs | 2022
| West Acad & District | 2020-03-20 | Zero Rooms > 4.0 pCi/L, 0 Rooms > 2.0 pCi/L | None, Retest 5 yrs | 2023/2025
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
HVAC Modifications & Upgrades | West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
Major Renovations or Additions | West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District
West Acad & District

## Tech Transp Maint
Action | School or Building | Date | Results/Actions/Notes of Service | Follow-up | When | Completed | Updated RMP
Radon Management Plan (RMP) |  |  |  | Recommended or Required | Recommended
Initial Radon Survey | Technology Bldg | 2017-03-02 | Technology Office all rooms > 2.0 pCi/L | Consider Fixing | Retest 5 yrs
| Transportation Bldg | 2017-03-02 | 3 rooms all < 1.0 pCi/L | None, Retest | 2022
| Maintenance Office | 2017-03-02 | 2 rooms tested, both < 1.0 pCi/L | None, Retest | 2022
| Tech, Transp & Mtce | 2020-03-20 | 3 rooms > 2.0 pCi/L, 0 Rooms > 4.0 pCi/L | None, Retest | 2023/2025
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
HVAC Modifications & Upgrades | Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Major Renovations or Additions | Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce
Tech, Transp & Mtce